## Slide 1: Practical 1 Preparing and QC of sequence data

## Slide 2: Learning objectives
Understand read file formats
Be able to judge a QC report
Be able to filter/trim Illumina reads

## Slide 3: Formats
sff (454)
fasta + qual
fastq

## Slide 4: Datafiles 454
sff file (standard flowgram format)
  binary
fasta & qual
  text

## Slide 5: 454: sff file (text format)
>F7K88GK01BMPI0
Run Prefix: R_2009_12_18_15_27_42_
Region #: 1
XY Location: 0551_2346
Run Name: R_2009_12_18_15_27_42_FLX########_Administrator_yourrunname
Analysis Name: D_2009_12_19_01_11_43_XX_fullProcessing
Full Path: /data/R_2009_12_18_15_27_42_FLX########_Administrator_yourrunname/D_2009_12_19_01_11_43_XX_fullProcessing/
Read Header Len: 32
Name Length: 14
# of Bases: 500
Clip Qual Left: 15
Clip Qual Right: 490
Clip Adap Left: 0
Clip Adap Right: 0
Flowgram: 1.03 0.00 1.01 0.02 0.00 0.96 0.00 1.00 0.00 1.04 0.00 0.00 0.97 0.00 0.96 0.02 0.00 1.04 0.01 1.04 0.00 0.97 0.96 0.02 0.00 1.00 0.95 1.04 0.00 0.00 2.04 0.02 0.03 1.05 Flow Indexes: 1 3 6 8 10 13 15 18 20 22 23 26 27 28 31 31 34 35 37 37 37 40 43 45 47 47 47 50 53 53 53 55 58 60 63 66 67 67 67 67 70 71 71 74 74 76 79 82 83 86 86 88 88 91 93 96 97...
Bases: tcagatcagacacgCCACTTTGCTCCCATTTCAGCACCCCACCAAGCACAAGGCTGTCATCCCAATTGGACGGACAGATATGAGGTTAGCATTGGAAACCAATTCAGTCCCTAATTATTCACGACTGAACCCAGCGACAATTGGACATGGATTCATTTTTCAACTTGATTTGTTGTTGTAAAAGCA...
Quality Scores: 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 38 38 38 40 40 40 39 39 39 40 34 34 34 40 40 40 40 39 26 26 26 26 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 ...

## Slide 6: 454: fasta and qual files
Fasta:
>FTJD6BE02HHD3W length=409 xy=2951_1562 region=2 run=R_2009_04_01_11_28_49_
AGAAAGTCAGCGGCAAATTTGGTTTTAGACGAATTGTCCCTTTGACATAACGACTAAAGG
AGTCAACAGATTTTCGTATAACTTCGTATAATGTATGCTATACGAAGTTATTACGCTATT
...
Qual:
>FTJD6BE02HHD3W length=409 xy=2951_1562 region=2 run=R_2009_04_01_11_28_49_
40 40 39 39 39 40 40 40 40 40 40 40 40 38 31 26 26 16 16 16 20 20 14 14 14 14 27 33 32 35 36 33 36 35 36 38 35 20 20 21 24 24 22 36 39 40 38 38 38 40 40 40 40 40 40 37 37 37 33 33
29 36 38 38 38 38 38 38 38 35 20 21 21 21 31 36 37 40 40 35 37 37 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40
...
Sanger-style Phred scores

## Slide 7: Illumina: fastq file
@PCUS-319-EAS487_0004_FC:6:1:1351:952#0/1
CCAACATAGCTGGATGCCAACATAGCTGGATTGTTATAGCTGGTTTGCTTTTCTAACTCGCTGGAAGTTTATAAGCATTCCTACTATTTCATAGTATTAC
+@PCUS-319-EAS487_0004_FC:6:1:1351:952#0/1
BBbfYcbV^BV`cQffaBZfB_fdfUYaa]`adcbfef\acfd^cad^fOabRceb`beSbdfaad_e^^dbeedTbd`V\ecdfffYBddb^fa\d\de

## Slide 8: Illumina: fastq file
@PCUS-319-EAS487_0004_FC:6:1:1351:952#0/1
CCAACATAGCTGGATGCCAACATAGCTGGATTGTTATAGCTGGTTTGCTTTTCTAACTCGCTGGAAGTTTATAAGCATTCCTACTATTTCATAGTATTAC
+@PCUS-319-EAS487_0004_FC:6:1:1351:952#0/1
BBbfYcbV^BV`cQffaBZfB_fdfUYaa]`adcbfef\acfd^cad^fOabRceb`beSbdfaad_e^^dbeedTbd`V\ecdfffYBddb^fa\d\de
Sequence
Quality

## Slide 9: Illumina: fastq file
@PCUS-319-EAS487_0004_FC:6:1:1351:952#0/1
CCAACATAGCTGGATGCCAACATAGCTGGATTGTTATAGCTGGTTTGCTTTTCTAACTCGCTGGAAGTTTATAAGCATTCCTACTATTTCATAGTATTAC
+@PCUS-319-EAS487_0004_FC:6:1:1351:952#0/1
BBbfYcbV^BV`cQffaBZfB_fdfUYaa]`adcbfef\acfd^cad^fOabRceb`beSbdfaad_e^^dbeedTbd`V\ecdfffYBddb^fa\d\de
Matching pair in the other file:
+@PCUS-319-EAS487_0004_FC:6:1:1351:952#0/2

## Slide 10: Illumina: fastq file
+@PCUS-319-EAS487_0004_FC:6:1:1351:952#0/1
BBbfYcbV^BV`cQffaBZfB_fdfUYaa]`adcbfef\acfd^cad^fOabRceb`beSbdfaad_e^^dbeedTbd`V\ecdfffYBddb^fa\d\de
Quality score as characters:
Phred score = ASCII value -33
'B' is ASCII 66  Phred 33

## Slide 11: Illumina: fastq file
Different schemes
Sanger ASCII = Phred + 33
Illumina 1.3+ ASCII = Phred + 64
Illumina 1.8+ Same as Sanger

## Slide 12: FastQ formats
Cock PJ et al 2009
The Sanger FASTQ file format for sequences with quality scores, and the Solexa/Illumina FASTQ variants.
Nucleic Acids Res. 2010 Apr;38(6):1767-71.
and
http://en.wikipedia.org/wiki/Fastq

## Slide 13: Quality control

## Slide 14: Quality Control
454 (and others): Prinseq
Illumina (and others): fastQC, fastQA, etc

## Slide 15: Prinseq
http://edwards.sdsu.edu/prinseq_beta
Web-based and stand-alone
Upload
  fasta or fastq file
  qual file (optional)

## Slide 16: Prinseq: read length

## Slide 17: Prinseq: quality per position

## Slide 18: Prinseq: quality values

## Slide 19: Prinseq: duplicate reads

## Slide 20: Prinseq: adaptors
No tag
Barcode (Roche 'MID')
Transcriptome library adaptor

## Slide 21: Prinseq: contamination
The dinucleotide
odds ratios*
Principal component analysis (PCA)
*dinucleotide frequencies normalized for the base composition

## Slide 22: Practical 1
Demo: Prinseq

## Slide 23: FastQC
http://www.bioinformatics.bbsrc.ac.uk/projects/fastqc/
Stand-alone
GUI (Java based)
Use
  fastq file
  BAM/SAM

## Slide 24: FastQC: quality per position

## Slide 25: FastQC: quality per position

## Slide 26: FastQC: quality values

## Slide 27: FastQC: nucleotide composition

## Slide 28: FastQC: GC distribution

## Slide 29: FastQC: duplicated reads

## Slide 30: Filtering/trimming
Adaptor removal
  especially Illumina
Duplicate removal
Filtering for low quality bases
  or stretches of them
  reads with 'N's
E.g.
  fastX toolkit
  prinseq

## Slide 31: Practical 1
FastQC on MiSeq run
Filtering/trimming
Redo FastQC on filtered reads